| World Trade Organization |  |
| --- | --- |
|  | G/TBT/N/PHL/39 10 March 2005 |
|  | (05-1004) |
| Committee on Technical Barriers to Trade | Original: English |

NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

| 1. | Member to Agreement notifying: PHILIPPINES If applicable, name of local government involved (Articles 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: Department of Trade and Industry - Bureau of Product Standards Name and address (including telephone and fax numbers, e-mail and web-site addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |  |  |
| 3. | Notified under Article 2.9.2 [ X ], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Thermoplastic insulated underground feeder |  |  |
| 5. | Title, number of pages and language(s) of the notified document: Draft PNS 2048:2005 – Electric wires and cables – Thermoplastic insulated underground feeder - Specification (11 pages, in English) |  |  |
| 6. | Description of content: This notification proposes the specification requirements for Underground Feeder annealed copper wires round single conductor of 2.0 mm2 up to 100 mm2. UF is suitable for branch circuit wiring or one which is identified for such use. It shall be permitted for use underground, including direct burial in earth, as feeder or branch-circuit cable where provided with over current protection. These type UF cables is intended for in wiring system operating at a potential of 600 V or less at 60°C. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: For electrical safety |  |  |
| 8. | Relevant documents: The following standards contain provisions which, through reference in this text form part of this national standard: PNS 260:2000 – Annealed copper wires – Specification; PNS 1207:2000 – Soft drawn (annealed) copper stranded conductors for electrical purposes – Specification; PNS 661: 1992 – Plasticized polyvinyl chloride compounds for electrical insulation – Specification; PNS 35-1:2004 – electrical wires and cables – Thermoplastic insulated copper wires and cables rated 600 volts – Part 1: General specification: Will appear in the Official Gazette when adopted. |  |  |
| 9. | Proposed date of adoption: Proposed date of entry into force: |  | 30 June 2005 |
| 10. | Final date for comments: 24 April 2005 |  |  |
| 11. | Texts available from: National enquiry point [ X ] or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: WTO/TBT Enquiry Point, Bureau of Product Standards, 3/F Trade & Industry Bldg., 361 Sen. Gil J. Puyat Ave., Makati, City, Philippines, Telephone: (632) 751-4749; 751-3125; 751-3126 Telefax: (632) 751-4706; 751-3124; 751-4720 E-mail: bps@dti.dti.gov.ph Website: www.bps.dti.gov.ph |  |  |