| World Trade Organization |  |
| --- | --- |
|  | G/TBT/N/LCA/46 14 April 2008 |
|  | (08-1717) |
| Committee on Technical Barriers to Trade | Original: English |

NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

| 1. | Member to Agreement notifying: SAINT LUCIA If applicable, name of local government involved (Articles 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: Saint Lucia Bureau of Standards Name and address (including telephone and fax numbers, e-mail and web-site addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |  |  |
| 3. | Notified under Article 2.9.2 [ X ], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Transformers, Reactors, (ICS 29.180) |  |  |
| 5. | Title, number of pages and language(s) of the notified document: DSLNS/BS EN 61558-1: Safety of Power Transformers, power supply units and similar – Pt. 1: General Requirements and tests (136 pages, English) DSLNS/BS EN 61558-2-13: Safety of Power Transformers, power supply units and similar – Pt. 2-13: Particular requirements for auto-transformers for general use (16 pages, English) |  |  |
| 6. | Description of content: DSLNS BS EN 61558-1: Safety of power transformers, power supply units and similar — Part 1: General requirements deals with all aspects of safety (such as electrical, thermal and mechanical) of: a) Stationary or portable, single-phase or polyphase, air-cooled (natural or forced) isolating and safety isolating transformers, associated or otherwise, having a rated supply voltage not exceeding 1 000 V a.c. and rated frequency not exceeding 1 MHz, the rated output not exceeding the following values. Transformers incorporating electronic circuits are also covered by this standard. This standard does not apply to external circuits and their components connected to terminals or socket-outlets of the transformer. DSLNS BS EN 61558-2-13: Safety of power transformers, power supply units and similar devices Part 2-13: Particular requirements for auto-transformers for general use: This standards deals with all aspects of safety such as electrical, thermal and mechanical. This part 2-13 of IEC 61558 applies to stationary or portable, single-phase or polyphase, air-cooled (natural or forced), independent or associated auto-transformers, having a rated supply voltage not exceeding 1 000 V a.c., a rated frequency not exceeding 500 Hz. This standard is also applicable to auto-transformers having a core power up to 40 kVA, however such transformers are considered as special transformers and are subjected to an agreement between the purchaser and the supplier. Such auto-transformers have no limitation for the rated output. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: These standards are proposed for adoption as Saint Lucia National Standards to provide guidance and information to manufacturers, importers, users, consumers and other interested parties, so as to ensure minimum levels of reliability, performance and the protection of human health and safety. |  |  |
| 8. | Relevant documents: DSLNS/BS EN 61558-1: Safety of Power Transformers, power supply units and similar – Pt. 1: General Requirements and tests (136 pages, English) DSLNS/BS EN 61558-2-13: Safety of Power Transformers, power supply units and similar – Pt. 2-13: Particular requirements for auto-transformers for general use (16 pages, English) A Notice will be published in the Saint Lucia National Gazette once these standards are officially adopted as mandatory standards. The relevant Statutory Instrument will also be gazetted. |  |  |
| 9. | Proposed date of adoption: Proposed date of entry into force: |  | On a date to be determined by the Minister with responsibility for standards matters in Saint Lucia. |
| 10. | Final date for comments: 6 June 2008 |  |  |
| 11. | Texts available from: National enquiry point [ X ] or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: Saint Lucia Bureau of Standards (SLBS) Bisee Industrial Estate, Box CP 5412 Castries Saint Lucia West Indies Tel: (+758) 453 0049, 456 0546, Fax: (+758) 452 3561 Email: slbs@candw.lc, info@slbs.org Website: www.slbs.org.lc |  |  |