notification

Addendum

The following communication, dated 11 April 2013, is being circulated at the request of the delegation of the United States of America.

_______________

TITLE: Energy Conservation Program for Consumer Products and Certain Commercial and Industrial Equipment: Test Procedures for Showerheads, Faucets, Water Closets, Urinals, and Commercial Prerinse Spray Valves

AGENCY:  Office of Energy Efficiency and Renewable Energy (OEERE), Department of Energy (DOE)

ACTION:  Supplemental notice of proposed rulemaking

SUMMARY:  The U.S. Department of Energy (DOE) proposes amendments to its May 2012 notice of proposed rulemaking related to DOE test procedures for showerheads, faucets, water closets, urinals, and commercial prerinse spray valves. The amendments proposed in this supplemental notice of proposed rulemaking include revisions to the definitions of showerhead and hand-held showerhead; removal of body sprays from the proposed showerhead definition; requirements pertaining to testing of showerheads that are components of shower towers; a standardized test method to be used when verifying the mechanical retention of a showerhead flow control insert when subjected to 8 pounds force; clarification of permissible trim adjustments for tank-type water closets; and amendments to the required static test pressures to be used when testing flushometer valve siphonic and blowout water closets. DOE also proposes further clarification of the definition of basic model with respect to flushometer valve water closets and urinals, as well as associated changes to certification reporting requirements for these products.

DATES: DOE will accept comments, data, and information regarding this SNOPR no later than 8 May 2013. See section IV, "Public Participation", for details.

URLs:

http://www.gpo.gov/fdsys/pkg/FR-2013-04-08/html/2013-08073.htm

http://www.gpo.gov/fdsys/pkg/FR-2013-04-08/pdf/2013-08073.pdf

__________