| World Trade Organization |  |
| --- | --- |
|  | G/TBT/N/CHN/52 6 May 2004 |
|  | (04-2026) |
| Committee on Technical Barriers to Trade | Original: English |

NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

| 1. | Member to Agreement notifying: THE PEOPLE’S REPUBLIC OF CHINA If applicable, name of local government involved (Articles 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: Standardization Administration of China (SAC) Name and address (including telephone and fax numbers, e-mail and web-site addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |  |  |
| 3. | Notified under Article 2.9.2 [ X ], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Water Heating-Cooling System for Artificial Heart-Lung Machine (UDC616.1-77)(C45). ICS 11.040.60 |  |  |
| 5. | Title, number of pages and language(s) of the notified document: Water Heating-Cooling System for Artificial Heart-Lung Machine (5 pages, in Chinese). |  |  |
| 6. | Description of content: Water heating-cooling system for artificial heart-lung machine is the drive for heated water, cooled water and raw water in heat exchanger of the extra corporeal blood heat exchanging system. It is the temperature adjuster for medical facilities in extra corporeal perfusion. The standard is the revised edition of GB12263-90 Water Heating-Cooling System for Artificial Heart-Lung Machine. The main differences between this standard and the original one are: - It followed GB9706.1-1995 “Medical Electrical Equipment part 1: General Requirements for Safety”. - It followed GB/T 14710-1993 “The Environmental Requirements and Test Methods for Medical Electrical Equipment”. - It adds the type of automatic temperature changing and circulation, and sets the requirement for heating and cooling speed. - Requirements for flow rate and volume of the heating-cooling system are improved. - Requirements for outlet and inlet connector of the heating-cooling system are added. - Requirements for marks of inlet, outlet, water line or instructions are added. If the faults (e.g. mains fuse, over-current release, electrolyte strength, continuous leakage, protective earth resistance) of electrical safety of water heating-cooling system occur, the operators might get an electric shock. Water heating-cooling system is usually used in an operating room, and the moisture or the mixture of air, O2, NO2, and anaesthetic, detergent would easily cause fire or explosion. If the faults of important performance of the water heating-cooling system occur, the blood temperature of the patient being operated would be out of control and threatens the person’s life. Therefore all the technical contents in the standard are compulsory. From the day it is published, the original standard will be replaced and abolished. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: For the protection of human safety and health |  |  |
| 8. | Relevant documents: - |  |  |
| 9. | Proposed date of adoption: Proposed date of entry into force: |  | To be determined |
| 10. | Final date for comments: 60 days from the date of notification |  |  |
| 11. | Texts available from: National enquiry point [ X ] or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: China WTO/TBT National Enquiry Point Tel.: +86 10 82260618 Fax: +86 10 82262448 E-mail: tbt@aqsiq.gov.cn |  |  |