| World Trade Organization |  |
| --- | --- |
|  | G/TBT/N/TTO/99/Corr.1 10 May 2011 |
|  | (11-2391) |
| Committee on Technical Barriers to Trade | Original: English |

notification

Corrigendum

The following communication, received on 5 May 2011, is being circulated at the request of the delegation of Trinidad and Tobago.

_______________

The following corrections have been made to the notification G/TBT/N/TTO/99:

Item 6 should read:

| 6. | Description of content: This standard covers pigtails and flexible hose connectors with a rated pressure of not less than 1.7 MPa (250 psig), used in the assembly of fuel supply systems intended for domestic liquefied petroleum gas (LP Gas) cooking appliances, operating at less than 1.7 kPa (1 psi). This standard also covers hoses without end-connection fittings that are used to manufacture flexible hose connectors. This standard does not apply to: - Low pressure flexible hose connectors with a rated pressure of 0.007 MPa (1 psig) or less; - Rated Gas appliance connectors for handling fuel gases at 34.5 kPa (5 psig); - Flexible hose connectors for engine fuel applications; - Flexible hose connectors for use in confined areas; and - Hose connectors for portable outdoor gas-fired appliances |
| --- | --- |

Item 8 should read:

| 8. | Relevant documents: Trinidad and Tobago Bureau of Standards ASTM D3183-10, Standard Practice for Rubber—Preparation of Pieces for Test Purposes from Products ASTM D412-06, Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers ASTM D573-10, Standard Test Method for Rubber—Deterioration in an Air Oven ASTM D 518-99, Standard Test Method for Rubber—Deterioration in an Air Oven AST D1149-07, Standard Test Method for Bromine Numbers of Petroleum Distillates and Commercial Aliphatic Olefins by Electrometric Titration ASTM D380, Standard Test Methods for Rubber Hose ASTM D471-10, Standard Test Method for Rubber Property American National Standards Institute ANSI/ASME B1.20.1, Standard for Pipe threads, General Purpose (inch) ANSI/UL/569, Pigtails and flexible hose connectors for LP-Gas |
| --- | --- |

__________

In English only.