| World Trade Organization |  |
| --- | --- |
|  | G/TBT/N/KEN/30 14 June 2006 |
|  | (06-2861) |
| Committee on Technical Barriers to Trade | Original: English |

NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

| 1. | Member to Agreement notifying: KENYA If applicable, name of local government involved (Articles 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: KENYA BUREAU OF STANDARDS (KEBS) Name and address (including telephone and fax numbers, e-mail and web-site addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |  |  |
| 3. | Notified under Article 2.9.2 [ X ], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Liquefied Petroleum Gas (HS: 73.11 and 76.13; ICS: 23.020.30) |  |  |
| 5. | Title, number of pages and language(s) of the notified document: : KS 1938-3: 2006 The handling, storage and distribution of liquefied petroleum gas in domestic, commercial, and industrial installations - Code of practice. Part 3: Liquefied petroleum gas installations involving storage vessels of individual water capacity exceeding 500 L (29 pages, in English). |  |  |
| 6. | Description of content: This Part 3 of KS 1938 covers recommendations for the layout, design and installation of butane, propane and liquefied petroleum gas equipment and of storage vessels of individual water capacity exceeding 500 L. Recommendations cover storage vessels of individual water capacity exceeding 500 L and associated vaporizers, pipe work and fittings up to the outlet of the first pressure reduction stage in the line. Recommendations are also given in regard to the fitting of automatic and other devices (operative in the event of physical damage to the installation) for the purpose of ensuring maximum security, for the storage of the gas from a design point of view, and for limiting the escape of liquid through normal pressure-relief fittings. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Protection of health and human life; environmental protection. |  |  |
| 8. | Relevant documents: SABS 087-3: 2004: Liquefied petroleum gas installations involving storage vessels of individual water capacity exceeding 500 L. SANS 10087-1:2004: Liquefied petroleum gas installations involving gas storage containers of individual water capacity not exceeding 500 L and a combined water capacity not exceeding 3 000 L per installation. SABS 087-7: Storage and filing sites for refillable liquefied petroleum (LPG) containers of capacity not exceeding 9 kg. SABS 019: Transportable metal containers for compressed gases - Basic design, manufacture, use and maintenance. - SABS 089-2: Electrical installations in the distribution and marketing sector. SABS 0232-1: Emergency information system for road transportation |  |  |
| 9. | Proposed date of adoption: 7 August 2006 Proposed date of entry into force: Upon declaration as Mandatory by the Minister for Trade and Industry |  |  |
| 10. | Final date for comments: 60 days after the date of notification |  |  |
| 11. | Texts available from: National enquiry point [ X ] or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: Kenya Bureau of Standards Standards Information Resource Centre WTO/TBT National Enquiry Point P.O. Box 54974-00200 Nairobi, Kenya Telephone: (+254 020) 605490, 605506/ 69028258 Fax: (+254 020) 609660/604031 E-mail: info@kebs.org Website: http://www.kebs.org |  |  |