| World Trade Organization |  |
| --- | --- |
|  | G/TBT/N/PHL/75 11 December 2006 |
|  | (06-5918) |
| Committee on Technical Barriers to Trade | Original: English |

NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

| 1. | Member to Agreement notifying: PHILIPPINES If applicable, name of local government involved (Articles 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: Bureau of Product Standards, Department of Trade & Industry Name and address (including telephone and fax numbers, e-mail and web-site addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |  |  |
| 3. | Notified under Article 2.9.2 [ X ], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Plastics piping systems for non-pressure underground drainage and sewerage – Unplasticized poly(vinyl chloride) (PVC-U) (ICS: 23.040.20). |  |  |
| 5. | Title, number of pages and language(s) of the notified document: Draft Philippine National Standard (DPNS) 1952:2006 – Plastics piping systems for non-pressure underground drainage and sewerage – Unplasticized poly(vinyl chloride) (PVC-U). |  |  |
| 6. | Description of content: This notification specifies the requirements for unplasticized poly(vinyl chloride) (PVC-U) pipes and piping systems intended for solid wall single layer for use for non-pressure underground drainage and sewerage for the conveyance of soil and waste discharge of domestic and industrial origin, as well as surface water. It covers buried pipework but does not apply to piping systems buried within the building structure. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: This notification is for consumers protection. |  |  |
| 8. | Relevant documents: In the preparation of this standard, ISO 4435:2003 and ISO 4435:1992 – Plastics piping systems for non-pressure underground drainage and sewerage – Unplasticized poly(vinyl chloride) (PVC-U) were considered. The following referenced documents are indispensable for the application of this document. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments) applies. PNS ISO 1167 – Thermoplalstics pipes for the conveyance of fluids – Resistance to internal pressure – Test method. PNS ISO 2507-1 – Thermoplastics pipes and fittings – Vicat softening temperature (VST) Part 1: General test method. PNS ISO 2507-2 – Thermoplastics pipes and fittings – Vicat softening temperature (VST) Part 2: Test conditions for unplasticized poly(vinyl) chloride) (PVC-U) or chlorinated poly(vinyl chloride) (PVC-C) pipes and fittings and for high impact resistance poly (vinyl chloride) (PVC-HI) pipes. PNS ISO 2505-1 – Thermoplastics pipes – Longitudinal reversion – Part 1: Determination method. PNS ISO 2505-2 – Thermoplastics pipes – Longitudinal reversion – Part 2: Determination parameters. PNS ISO 3126 – Plastics pipes – Measurement of dimensions. PNS ISO 3127 – Thermoplastics pipes – Determination of resistance to external blows – Round-the clock method. PNS ISO 4633 – Rubber seals – Joint rings for water supply, drainage and sewerage pipelines – Specification for materials. PNS ISO 9852 – Unplasticized poly(vinyl chloride)(PVC-U) pipes – Dichloromethane resistance at specified temperature (DCMT) – Test method. BS EN 1401-1 – Plastics piping system for non-pressure underground drainage and sewerage – Unplasticized poly(vinyl chloride)(PVC-U) – Part 1: Specification for pipes, fittings and the system. BS EN 1277 – Plastics piping systems – Thermoplastics piping systems for buried non- pressure applications – Test method for leaktightness of elastomeric sealing ring type joints. BS EN 1905 – Plastics piping and ducting systems – Unplasticized poly(vinyl chloride) (PVC-U) pipes, fittings and material – Method for assessment of PVC content based on total chlorine content. |  |  |
| 9. | Proposed date of adoption: Proposed date of entry into force: |  | Year 2007 |
| 10. | Final date for comments: 7 February 2007 |  |  |
| 11. | Texts available from: National enquiry point [ X ] or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: WTO/TBT Enquiry Point and Services Bureau of Product Standards Department of Trade and Industry 361 Sen. Gil J. Puyat Avenue Makati City, Metro Manila Tel.: (+632) 751-4749; 751-3125 E-mail: bps@dti.gov.ph |  |  |