| World Trade Organization |  |
| --- | --- |
|  | G/TBT/N/PHL/74 11 December 2006 |
|  | (06-5919) |
| Committee on Technical Barriers to Trade | Original: English |

NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

| 1. | Member to Agreement notifying: PHILIPPINES If applicable, name of local government involved (Articles 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: Bureau of Product Standards, Department of Trade & Industry Name and address (including telephone and fax numbers, e-mail and web-site addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |  |  |
| 3. | Notified under Article 2.9.2 [ X ], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Lamps and related equipment (ICS: 29.140.30). |  |  |
| 5. | Title, number of pages and language(s) of the notified document: Draft Philippine National Standard (DPNS) 2050-4:2006 – Lamps and related equipment – Energy labelling requirements – Part 4: Ballast. |  |  |
| 6. | Description of content: This notification specifies the energy labelling requirements for ballasts for general lighting. This requires attachment of an energy label that would show the product’s ballast efficacy factor, among others. It is hereby emphasized that under this standard, ballasts shall be tested at 230 V 60 Hz, which is the nominal voltage system of the Philippines. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: This notification that deals with energy efficient lighting (EEL), has been developed in promoting energy efficient products as one of the strategies to achieve energy self-sufficiency, contribute to the reduction of greenhouse gas emission and to guide consumers in determining which ballast model is costly to operate. This notification is for consumers protection. |  |  |
| 8. | Relevant documents: PNS IEC 60921:2006 (IEC published 2004) Ballast for tubular fluorescent lamps – Performance requirements. PNS IEC 60929:2006 (IEC published 2003) AC supplied electronic ballasts for tubular fluorescent lamps – Performance requirements. PNS IEC 60923:2006 (IEC published 2005) Auxiliaries for lamps – Ballasts for discharge lamps (excluding tubular fluorescent lamps) – Performance requirements. |  |  |
| 9. | Proposed date of adoption: Proposed date of entry into force: |  | Year 2007 |
| 10. | Final date for comments: 7 February 2007 |  |  |
| 11. | Texts available from: National enquiry point [ X ] or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: WTO/TBT Enquiry Point and Services Bureau of Product Standards Department of Trade and Industry 361 Sen. Gil J. Puyat Avenue Makati City, Metro Manila Tel.: (+632) 751 4749; 751 3125 E-mail: bps@dti.gov.ph |  |  |