NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: Kenya If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Kenya Bureau of Standards Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Insulated (including enamelled or anodised) wire, cable (including co- Axial cable) and other insulated electric conductors, whether or not fitted with connectors; optical fibre cables, made up of individually sheathed fibres, whether or not assembled with electric conductors or fitted with connectors (HS: 8544). Electrical wires and cables (ICS: 29.060) |
| 5. | Title, number of pages and language(s) of the notified document: DKS 1022:2015 – Specification for 600/1000 V PVC insulated single-phase concentric cables with copper or aluminium conductors for electricity supply (10 pages, in English) |
| 6. | Description of content: Specifies requirements and dimensions for PVC-insulated single phase concentric cables for operation on an earthed neutral system at nominal voltages up-to and including 1 000 V between phases and 600 V to earth. The cables have a central phase conductor insulated with red PVC and a concentric layer comprising bare wires (neutral conductor). In any one cable both the phase and neutral conductors are of the same material i.e. both copper or both aluminium. The cables are suitable for underground or general use in situations where the combination of ambient temperature and temperature-rise due to loading current results in a conductor temperature not exceeding 70° C. It gives a tabulated schedule of test requirements designating each test under the category of routine test, regular sample test or type test. In addition, two annexes have been added, Annex A giving recommendations for the selection and operation of cables and Annex B providing recommendations for the installation of cables. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Quality requirements; Protection of human health or safety |
| 8. | Relevant documents: BS 4553:1998 |
| 9. | Proposed date of adoption: March 2016 Proposed date of entry into force: Upon declaration as mandatory by the Minister for Industrialization and Enterprise Development |
| 10. | Final date for comments: 1 February 2016 |
| 11. | Texts available from: National enquiry point [ ] or address, telephone and fax numbers and email and website addresses, if available, of other body: Kenya Bureau of Standards, WTO/TBT National Enquiry Point P.O. Box 54974-00200 Nairobi, Kenya Telephone: + (254) 020 605490, 605506/ 6948258 Fax: + (254) 020 609660/ 609665 E-mail: mailto:info@kebs.org Website: http://www.kebs.org |