NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: the State of Kuwait If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Kuwait Standards & Metrology Department (KOWSMD) Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: Public Authority for Industry (PAI) P.O. BOX: 4690, Safat 13047 Kuwait Tel.: +965 253 02 630 Fax: +965 253 02 625 E-mail: mailto: Enquiry_point@pai.gov.kw Website: http://www.pai.gov.kw |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): All products fall under scope of KWS IEC 60309-4:2019; Plugs, socket-outlets and couplers for industrial purposes - Part 4: Switched socket-outlets and connectors with or without interlock; Plugs, socket-outlets, couplers (ICS:29.120.30) |
| 5. | Title, number of pages and language(s) of the notified document: Plugs, socket-outlets and couplers for industrial purposes - Part 4: Switched socket-outlets and connectors with or without interlock (45 page(s), in English) |
| 6. | Description of content: Applies to self-contained products that combine within a single enclosure, a socket-outlet or connector according to IEC 60309-1 or IEC 60309-2 and a switching device, with a rated operating voltage not exceeding 1 000 V d.c. or a.c. and 500 Hz, and a rated current not exceeding 800 A, primarily intended for industrial use, either indoors or outdoors. These accessories are intended to be installed by instructed persons(Amendment 1:2001 of IEC 60050-195:1998, 195-04-02) or skilled persons (Amendment 1:2001 of IEC 60050-195:1998, 195-04-01) only. These products may incorporate an interlock and/or protective devices. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety |
| 8. | Relevant documents: IEC 60309-4:2006+AMD1:2012 CSV |
| 9. | Proposed date of adoption: 180 days from date of publication of approved version by Kuwait ministry of commerce and industry Proposed date of entry into force: 180 days from date of publication of approved version by Kuwait ministry of commerce and industry |
| 10. | Final date for comments: 60 days from notification |
| 11. | Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: Public Authority for Industry (PAI) P.O. BOX: 4690, Safat 13047 Kuwait Tel.: +965 253 02 630 Fax: +965 253 02 625 E-mail: mailto: Enquiry_point@pai.gov.kw Website: http://www.pai.gov.kw |