NOTIFICATION

Addendum

The following communication, dated 8 May 2019, is being circulated at the request of the delegation of Singapore.

_______________

TITLE: Draft Public Utilities (Water Supply) (Amendment) Regulations 2019

AGENCY: PUB Singapore (The National Water Agency)

ACTION: Final rule

SUMMARY: Singapore's Mandatory Water Efficiency Labelling Scheme (Mandatory WELS) was introduced in 2009 to help consumers make more informed purchasing decisions and encourage suppliers to introduce more water efficient products into the market. Under the scheme, all water fittings, including thermostatic mixers, must be registered and labelled to provide information on their water efficiency level before they can be sold or supplied in Singapore. Suppliers registering new models of thermostatic mixers under the mandatory WELS are currently required to submit test results in accordance with section 10 of BS EN 1287 (1999). From 1 April 2020 onwards, the prevailing test standard for thermostatic mixers under the mandatory Water Efficiency Labelling Scheme (WELS) will be replaced with Section 13.2 of the BS EN 1111 (2017). To allow suppliers and test laboratories to prepare for the new test standard, there will be a transition period from 1 April 2019 to 31 March 2020, during which suppliers can submit test reports based on either section 10 of BS EN 1287 (1999) or section 13.2 of BS EN 1111 (2017) to register their new thermostatic mixer models. All existing thermostatic mixer models which are registered under WELS before 1 April 2020 can still continue to be supplied without having to re-submit test results.

DATES: Entry into force on 1 April 2019.

__________